Fire and Evacuation Plan

For Low Occupancy Buildings

Insert Building Name

Insert Building Address

| Building Information |
| --- |
| Building Name: | ABC Business Solutions |
| Address: | 100 Main Road, Everywhere, QLD |
| Building Owner: | ABC Pty Ltd |
| Address: | 999 Smith St, Fortitude Valley |
| Phone Number: | (07) 3555 6660 |
| Email : | bde@dbe.com.au |
| Building Occupier: | Bob Power |
| Address: | 100 Main Road Everywhere QLD |
| Phone Number: | 555666 |
| Email: | bpower@dbe.com.au |

Persons responsible for administering the Building’s Fire and Evacuation Plan

Mr B Power – Office Manager

| Person responsible for giving General & First Response Evacuation Instruction |
| --- |
|  | Fire and Evacuation Instructors | Date of Instruction |
| Name: | Mr B Power | 14/01/2017 |
| Phone Number: | 35556661 |  |
| Email: | bpower@dbe.com.au |  |

| Fire & Evacuation Plan Annual Review |
| --- |
| Date of Review | Reviewed by | Changes made? |
| 12/12/2017 | Mr B Power | No |

| Evacuation Coordination Procedures |
| --- |
| Commencement Date: | 12/12/2017 |
| Procedure | If fire discovered evacuate persons from premises and ensure no one enters building |
| Procedure for contacting fire service | Ring 000 |
| Persons with special needs | Ensure everyone is out of the building |

Emergency Evacuation Procedure

In the event of fire, or hazardous material emergency, occupants should evacuate In the event of fire, or hazardous material emergency, occupants should evacuate the building and gather at a predetermined assembly area.

In the event of a fire, staff will:

- Investigate the fire situation.

- If there is any doubt regarding whether there is a fire situation, the Fire Service should still be called.

- Ensure the safe evacuation of all occupants from the building.

- Account for all occupants at the assembly area.

- Ensure occupants do not attempt to re-enter the building until it is safe to do so.

- Meet the Fire Service and advise them of any information relevant to the emergency.

In the event of a fire or hazardous material emergency being located, staff will:

- Ensure the evacuation of the building – alert all occupants without further compromising life and assist those which are persons with special needs.

- Attempt to extinguish the fire if safe to do so –

If the fire is small enough, use a nearby fire extinguisher to control and extinguish the fire. Do not fight the fire if the following conditions exist:

- You have not been trained or instructed in using a fire extinguisher

- You don’t know what’s burning

- The fire is spreading rapidly and might block your means of escape

- You don’t have the proper equipment

- You might inhale toxic smoke

- Your instincts tell you not to do so

If the first attempts to put out the fire do not succeed, evacuate the building immediately.

- Meet the Fire Service on arrival and inform them of the situation. Even If the fire has been extinguished the Fire Service will still attend.

Method of operation of firefighting equipment

Fire Extinguishers

- Select appropriate extinguisher for type of fire.

- Pull pin from squeeze handle.

- Test extinguisher by squeezing handles briefly.

- Approach fire aiming nozzle at base of fire.

- Squeeze handles and operate extinguisher in a sweeping motion.

Hose Reels

- Hose reels are used on fires involving wood, paper and textiles only, they are not to be used on live electrical appliances or flammable liquids.

- To release the hose reel, turn the valve on this will charge the hose and release the nozzle (if fitted with a nozzle release lock).

- The hose can then be pulled out to the fire, the nozzle operates like a garden hose in most cases by twisting the nozzle, and the nozzle can be adjusted to give a spray pattern or a straight jet.

Procedures for giving fire and evacuation instructions

For new employees:

- On day one of induction for any new employee the Office Manager (Mr B Power) will give General Evacuation Instructions and First Response Instruction.

- This instruction is to be recorded.

- Note: The BFSR requires general evacuation instructions to be given within 2 days and first response instructions within a month of starting work in the building, both sets of instructions may be given at the same time.

Existing employees

- General Evacuation Instructions will be given annually and First Response Instruction biennially.

- Instruction will be given by Mr B Power and recorded.

Responsible person – evacuation coordination procedures:

- Nominated staff will receive evacuation coordination procedures one month prior to taking on this role and annually after that.

- Evacuation coordination procedures will be given by Mr B Power and recorded.

Relevant ‘Building Approval’ Documents

# insert here a copy of your building approval documents

Additional Information to assist you in completing this Section: What approval documents does QFES require? For buildings built under the Deemed to Satisfy Provisions of the BCA from 1 July 1997 onwards, QFES requires the following:- Certificate of Classification; and A list of fire safety installations within the building. For buildings built with Alternative Solutions from 1 July 1997 onwards: QFES requires the following:- Certificate of Classification; A list of fire safety installations within the building; and The Fire Safety Management Procedures (Management in Use Documentation) if the building was built using an alternative solution. Fire Engineering Report For buildings built prior to 1 July 1997, QFES requires the following:- Certificate of Classification or Certificate of Approval (If either of these are not available QFES will accept written documentation showing requests for copies of relevant approval documents from the relevant local government or building certifier); and A list of fire safety installations within the building. For Crown buildings QFES requires the following:- A list of fire safety installations within the building; and The Fire Safety Management Procedures (Management in Use Documentation) if the building was built using an alternative solution. Displaying Certificate of Classification Buildings built after 1 July 1997 are required to display the Certificate of Classification for the building in a conspicuous place in the building.

Fire Safety Management Procedure – Alternative Solutions

# insert here a copy of your Fire Safety Management Procedure

Additional Information to assist you in completing this Section: Fire Safety Management Procedure If building work for the building involved an alternative solution included will be a “fire safety management procedure” as a condition of the occupation and use of the building. As well as a copy of the “fire safety management procedure” any relevant conditions mentioned in the procedure must be incorporated in this fire and evacuation plan. Examples of fire safety management procedures: Limitations on the use of finishes with fire hazard properties as defined under the BCA Prohibitions on storing hazardous materials above a stated height Limitations on storing or using stated materials Requirements that all of a building’s final exit doors be unlocked before it is occupied on the start of any day Requirements to implement stated evacuation strategies or procedures Restrictions on the number and the distribution of a building’s occupants Requirements that evacuation routes be kept clear of fittings and furnishings or be kept sterile Prohibitions on carrying out any hazardous processes or storage mentioned in BCA, Part E1.5, Table E1.5, note 3, paragraph (a).

Evacuation Sign and Diagram

# insert here your Evacuation Sign and Diagram

Template available at https://www.fire.qld.gov.au/buildingsafety/forms-and-templates.asp